ARMENIAN NPP SPENT FUEL DRY STORAGE FACILITY

M. VARDANYAN

“HAYKAKAN ATOMAYIN ELEKTRAKAYAN” CJSC

Metsamor, Republic of Armenia

Movses.Vardanyan@anpp.am

ABSTRACT

- INTRODUCTION

After collapse of the former USSR and formation of independent state, Republic of Armenia (RA) occurred deprived of possibility to ship out spent fuel for processing. It led to the need to ensure spent fuel storage after ANPP Unit 2 restart.

RA Ministry of Energy selected the option of horizontal spent fuel storage facility (NUHOMS). The spent fuel dry storage facility (SFDSF) design was based upon technical data of fuel assemblies, dry shielded canisters and horizontal storage module (HSM) system of NUHOMS-56.

- DESCRIPTION OF SFDSF LICENSING PROCESS

For SFDSF licensing the following documents have been prepared in accordance with 10CFR-72 and submitted to the State Committee for Nuclear Safety Regulation (SCNSR) of Republic of Armenia for review:

- SFDSF safety analysis report;

- Design documentation, quality assurance programmes, test programmes, general instruction for shipment, detailed and manufacturer instructions;

- Test protocols, equipment passports and loading cartograms;

- Technical specification for SFDSF operation and emergency response plan, etc.

“HAEK” CJSC obtained license for SFDSF operation and authorization for spent fuel shipment in 2002. According to RA Government decision works related to SFDSF extension were started resulting in additional 12 HSMs in 2008.

- SFDSF OPERATION

SFDSF operation is held according to the operating instruction and license terms. In the process of operation HSM temperature, SFDSF area radiological situation is monitored and visual inspection of SFDSF area and structures is carried out resulting in quarterly and annual reports to be submitted to SCNSR.

- APPLICATION OF IAEA SAFEGUARDS

The whole nuclear material stored in SFDSF is under IAEA monitoring system. All alterations in the quantity of the nuclear material are reported in an appropriate way and the reports are sent to the IAEA via SCNSR.

- DEVELOPMENT OF NUCLEAR ENERGY IN RA

Armenia is a country having over 30 years’ NPP operating experience. Presently ANPP Unit 2 produces more than 40% of the whole energy output in Armenia. That’s why, to ensure substitution of energy sources to be decommissioned and to provide the power needs during the future years as well as according to RA energy development strategy decision was made to build a new power unit.